{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":11,"n_cols":13,"rows_kept":11,"merged":[[0,1,0,12],[10,5,10,12]],"flags":["formulas_cached_only"]}
["              焦作市太行强制隔离戒毒所车库涂料粉刷预算   ","河南工业和信息化职业学院大学生活动中心局部吊顶装修工程工程量清单"]
[null,"序号","项目","数量","单位","单价（元）","合计（元）","备注",{"$nulls":4},"            备注（包括）"]
[null,1,"一楼排水管（包管）",7,"根",{"$nulls":7},"龙骨、石膏板、辅材等材料、管高4.37米"]
[null,2,"一楼排水管(墙漆)",7,"根",{"$nulls":7},"墙漆、辅材等材料"]
[null,3,"二楼排水管（包管）",7,"根",{"$nulls":7},"龙骨、石膏板、辅材等材料、管高3.3米"]
[null,4,"二楼排水管(墙漆)",7,"根",{"$nulls":7},"墙漆、辅材等材料"]
[null,5,"二楼铝天吊顶",77,"m²",{"$nulls":7},"600*600铝板0.8毫米、轻钢龙骨"]
[null,6,"二楼吊顶立面（龙骨及饰面板）",34,"m",{"$nulls":7},"龙骨、石膏板、辅材等材料"]
[null,7,"二楼吊顶立面（墙漆）",34,"m",{"$nulls":7},"墙漆、辅材等材料"]
[null,10,"总计"]
[{"$nulls":5},"备注：表中单价为含人材机、管理费、规费、利润、税金等费用的全费用单价"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}